Photometric Calibration for WFCAM data

| Author: | Simon Hodgkin |
| --- | --- |
| Document Number: | VDF-PLA-IOA-00008-0001 |
| Version Number: | 1.2 |
| Date: | 30th March 2005 |

Contents

1	Introduction	3

2	State of Play	3

3	Photometric Calibration of Wide Field NIR Images	4

4	Detailed Discussion of WFCAM Calibration	5

4.1	Choice of Primary Standards	5

4.2	Spatial Calibration	5

4.3	Choice of Secondary Fields	5

4.4	Narrow Band Filters	7

4.5	New broadband filters	8

4.6	Definition of magnitude system	8

4.7	Science Requirement	8

5	References	8

6	Appendices	11

6.1	Definition of the problem	11

6.2	Commissioning Calibration Plan	8

6.3	Nightly Calibration Plan	10

6.4	The 2MASS standard fields	11

6.5	Proposed Secondary Standard Fields	12

Standard Field Selection	12

Selection Criteria	12

WFCAM saturation	13

Reduced List	13

6.6	List of Standards	15

# Introduction

- The purpose of this document is to discuss the photometric calibration of data from the planned UKIRT Wide Field Camera (WFCAM) in the context of the Vista Data Flow System (VDFS). The first draft of this document has been prepared to coincide with the WFCAM observing workshop (held at ROE during 12-13/6/2003).

- The specific aims of the document are:

- to describe in detail factors which could affect the photometric calibration of data taken with WFCAM.

- to suggest techniques for investigating the photometric performance of the instrument and telescope during commissioning.

- to propose nightly observing strategies which will enable photometry to be measured to the accuracy required by the UKIDSS science programmes.

- This document does not discuss in any detail post-facto calibration of WFCAM data via overlapping or bootstrapping techniques, although we do raise the issue. It is intended that this document will evolve to incorporate the results of discussion around the issues raised (and omitted!) herein.

# State of Play

Hambly et al. (2001) have already written a detailed document discussing WFCAM calibration and in particular investigating the need to do preparatory observations with existing instrumentation. The resulting detailed discussion between the authors came to the following conclusions:

- The majority of the UKIRT Faint Standards (Hawarden et al. 2001) will be observable by WFCAM. Standard fields can therefore be tied to this system. Also some of the Persson et al. (1998) standards have been re-observed with UFTI and put on the same system.

- Standard fields are preferred to standard stars - more objects beats down the noise and allows for spurious variable objects. They also allow the investigation of spatial systematics in the calibration and include a bigger colour range to enable determination of the colour equations.

- The spatial systematic detector calibration effects are best modelled  (at least initially) by 'meso-stepping' a dense stellar region across the detector. This region need not be a calibrated standard field.

- There is not much to be gained from using the 2MASS standards – the filter pass bands are quite different (and this difference is variable over time as they include H20 bands). The JHK filters on WFCAM are part of the MKO filter set – i.e. they are very similar to the UFTI filters and the sensitivity function will therefore depend only on QE differences between the detectors which look to be small (Casali ****).

- There is no strong requirement to pre-observe fields with UFTI/UIST – all calibration can and should be done with WFCAM.

The suggested strategy was:

- Check the spatial performance of the telescope + detector + reduction system, using a dense stellar region - e.g. a globular cluster.

- Choose suitable calibration fields (spaced at suitable intervals in Right Ascension and covering a range of Declination), possibly centred on the UKIRT faint standards.

- Observe UKIRT faint standards, and

- Tie in calibration fields to the UKIRT FS system. Calibration fields should be observed on a minimum of 3 photometric nights (assuming there is already some photometric pedigree).

# Photometric Calibration of Wide Field NIR Images

The WFCAM wide field of view, large pixels and four detectors add complexity to the issue of photometric calibration. The way in which the instrument will be used, being on the telescope for large blocks of time and running in predominantly a survey mode, mitigates these problems by providing a stable configuration and enabling us to take a long term approach. By defining routine calibration procedures at an early stage we should be able to maximise the accuracy of WFCAM data, and hence the scientific productiveness and legacy of the archive, for the minimum of fuss.

In Appendix A1, I briefly outline the photometric problem we are trying to solve. The accuracy to which we can calibrate WFCAM data depends crucially on our observing strategy. Effects which need to be accounted for during commissioning and the lifetime of the project include the following:

- spatial systematics (scattered light/flatfield errors)

- variable pixel spatial scale across the FOV

- extinction colour dependence

- differential extinction across the field

- chip-to-chip gain dependence

- chip-to-chip QE colour effects

- filter colour terms

- extinction time dependence

- geometrical/optical spatial effects (e.g. vignetting, secondary reflectivity function)

To get the most out of the pipeline processing, we need to define observing practices (MSBs) which should be rigorously adhered to by the WFCAM observers.

In addition we need to ensure that time is set aside during commissioning and in every semester to characterise the performance of the instrument and to update the standard star fields.

# Detailed Discussion of WFCAM Calibration

Following the initial document, I have revisited the WFCAM photometric calibration and highlight some important steps which need to be planned.

## Choice of Primary Standards

In a 5 (1) second exposure the detectors will saturate at magnitudes of J=11.5 (9.8), H=11.5 (9.8), K=11.1 (9.4) (Casali et al. 2003; numbers in brackets are the 1 second saturation limits).  Which means that nearly all the UKIRT standard stars (http://www.jach.hawaii.edu/JACpublic/UKIRT/astronomy/calib/fs_izjhklm.dat) are in reach of WFCAM (defocusing can be used for brighter stars, but this should be avoided if possible).

Persistence effects have been measured and appear to be small (2 10-4 after 20 seconds, Casali et al. 2003) therefore there should be no problem in observing the UKIRT faint standards, with the caveat that these are preliminary results from only one detector.

## Spatial Calibration

Manfroid, Selman & Jones (2001) discuss the effect of scattered light in ESO WFI sky frames, i.e. by flatfielding a science image with data that contains an additive, spatially-dependent component, one will introduce a systematic calibration error across the field of view. However, the ESO WFI does seem to suffer a much larger effect than is seen in the INT WFC. There are two simple ways to check that the data reduction pipeline does not introduce an error of this nature.

- Observe a star (or star field) at many different positions on the science array during a photometrically stable night.

- Observe a previously calibrated star field which is dense enough to measure the spatial calibration.

In practice, at commissioning, it may be simplest to observe a single star and step it across the array. This will enable a quick (e.g. 64 pointings x 1s to give an 8x8 grid) and accurate check of any spatially dependent systematics. Using a dense star field will improve accuracy but will require a lot more analysis effort. Once a calibrated field is set up, this becomes a quick and simple routine check requiring only one image, providing the field contains enough stars.

## Choice of Secondary Fields

These will become legacy fields for the calibration of WFCAM, VISTA and future IR projects. We consider the following as requirements:

- The field should extend over 14x14 arcminutes for WFCAM. VISTA fields need to be larger, but can be extended with VISTA itself.

- They should span 24 hours in RA, preferably spaced every 2 hours (1 hour?) eventually, maybe every 4 hours initially. Some fields to the North should be defined to enable observations at airmass 1.00, and to simultaneously span a rage of zenith distance.

- Similar fields should be chosen in the South for VISTA.

- The density of sources should be adequate to characterise the position dependent systematics in WFCAM. This is at least 100 stars with K magnitudes no fainter than 18 (otherwise prohibitively long exposures required)

- They should encompass a broad spread in colour so that we can determine colour terms.

Some suggestions for targets are:

- Near or around existing UKIRT Faint Standards

- In Open Clusters

- On the edges of globular clusters

- Fields selected purely on the basis of number density (e.g. from 2MASS)

Our preference is option [1] and 2MASS star counts indicate that at high galactic latitude there are approximately 300 sources per square degree per magnitude at JHK=17. 2MASS data has been examined to investigate the colour properties of candidate fields.  Figure 1 shows objects selected from a 13.65(13.65 arcmin region centred on the blue standard RU149D. This is a good candidate secondary standard field for the following reasons:

- RU149D will not saturate in a typical WFCAM standard exposure (5s) enabling direct calibration for all the other stars in the field.

- The field is reasonably devoid of bright stars – avoiding saturation and persistence issues for the detector (there are 3 stars with H<10 in the 2MASS point source catalogue).

- There are some 700 stars in the 2MASS PSC to J=16

- Stars cover a wide range of colour.

Globular clusters, [3], may have a strong gradient across the field, although the horizontal branch will ensure a good range of colour.  The densest regions must be avoided and additional care taken with aperture photometry given the crowding.

I have therefore selected a list of around 48 UKIRT Faint Standards spread over 43 fields on which to base the secondary standards. These standards are listed in Appendix A5 which also includes discussion of the criteria for selecting the standard fields. Finding charts, star counts and colour-magnitude diagrams for all these fields can be found at http://www.ast.cam.ac.uk/~sth/wfcam/wfcam_standards/

## Narrow Band Filters

A clear strategy for calibration of the narrow band filters needs to be set in place. Three suggestions are

- Use spectrophotometric flux standards.

- Use normal standard fields and bootstrap the filters into the VEGA system.

- Use a synthetic calibration.

Suggestion (3) seems unreliable. The preferred approach would be to tie the WFCAM standard fields into a system based on spectrophotometric standards if we can find any.

Our level 1 approach would be to bootstrap into the Vega system. By observing a whole range of UKIRT FS in all filters - including the narrow band - we can plot H2instrumental-K vs J-K for example. The solution to a fit through the sequence requires that for J-K=0, H2-K must also be zero by definition. Thus we solve for the H2 zero-point and any colour term.

Note that WFCAM calibration will use secondary standards where there are typically >100 per chip down to J=16 so we will eventually have very many stars measured in all filters. Figure Figure 3 shows the spread in colours of the selected UKIRT faint standards.

In order to turn the instrumental zeropoints into fluxes, we'd really need to measure some photometric standards at H2.

## New broadband filters

Y and Z filters. SKL is setting up UKIRT Z-band standards, but this Z seems markedly different to the WFCAM Z filter. We need to define a consistent calibration method to put these filters in the same system as JHK. I propose to use the same technique as was used for the INT WFC z-band, i.e. tie the system into Vega by observing a stars of varying colour, a plot of e.g. Z-J vs J-K should pass through (0,0). This is also the proposed system for the narrow-band filters (above).

Sandy Leggett has now synthesised UKIRT YZ magnitudes for a range of stars with spectra using laboratory measured Y and Z WFCAM filter profiles. She has also estimated colours for a few objects based on their spectral type and VIJHK magnitudes. See Appendix 5 for more details.

## Definition of magnitude system

The WFCAM project needs to decide which magnitude system to work in. Stellar astronomers prefer Vega, while the extragalactic community prefer the AB system (allegedly). I propose to work in Vega and provide transformation coefficients for the AB system. I think we need to avoid releasing two sets of magnitudes, e.g. JWFCAMVega, JWFCAMAB.

## Science Requirement

The science requirement from UKIDSS is to achieve 2% accurate photometry. See Hambly et al. (2001) for some discussion of what this accuracy means.

# Commissioning Calibration Plan

We propose to make the following observations as soon as the instrument is generating sensible images:

- Investigation of spatial systematics (in a range of filters)

- Observations of UKIRT standards (in all filters)

- Observations of spectrophotometric standards (in narrowband filters)

- Tie in of pre-selected secondary fields (in all filters)

This should be seen as a priority and given precedence as soon as conditions merit the observations.

[1] becomes routine and very quick when secondary standard fields are in place, and could be performed every night as a check on or correction to the standard 2D pipeline reduction. As confidence in the pipeline reduction is established, then the frequency can be reduced, perhaps only making the test every time the instrument is mounted.

[2-4] Will span the whole first year to cover the range in RA. Repeat observations throughout the lifetime of the instrument will be necessary to improve accuracy and identify variable stars

## Spatial Systematics: Mesostepping

I assume that the spatial sensitivity of each detector can be approximated by a polynomial function, i.e. zeropoint as a function of (x,y) offset from the centre of the detector, e.g.

or, in quadratic form, at positions i:

The difference in sensitivity/zeropoint between two positions i and j is then:

If we make two observations of the same star at offset positions i(xi,yi) and j(xj,yj), we sample this function such that the difference in magnitude measured is (mij then:

In the simplest case, observing the same star in a number of different places would allow you to measure the (mij as a function of x and y. One could then fit a polynomial using least-squares and solve for the ahk.

### Observations

We propose a 5x5 uniform grid of pointings, stepping the telescope 1/5 of a detector width between each pointing position, e.g.:

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
| 10 | 9 | 8 | 7 | 6 |
| 11 | 12 | 13 | 14 | 15 |
| 20 | 19 | 18 | 17 | 16 |
| 21 | 22 | 23 | 24 | 25 |

These observations should only be done in photometric conditions, largely because cloud with given variations in sensitivity on spatial as well as temporal scales. We will measure a region with a high enough stellar density that we are using many stars to solve for the polynomial coefficients.

# Nightly Calibration Plan

Currently this plan exists as a series of questions for discussion. This section will evolve to a firm plan and well defined MSBs.

- What is the minimum number of measurements (fewest overheads on survey time) that are needed to achieve the Science Requirement accuracy?

- What do we do about extinction? Do we know how MKO extinction behaves seasonally, or over the course of a night, in the infrared? Do we need to use the science arrays? For example the autoguider is monitoring in the V-band; it seems unlikely that we will be able to bootstrap the V extinction into JHK.

- How frequently do standards need to be measured (time dependence)?

- What range of colours do we want /require our standards to have?

- Can we improve on the calibration by tying together groups of nights (how many) or should each night stand alone?

- What about a global solution a la 2MASS (see Nikolaev et al. 2000)?

- What other information will be available to us apart from WFCAM measurements (e.g. 2MASS measures, autoguider transmission, skyprobe, CSO Tau) and how can we make use of it?

- Will we make PATT observers follow this procedure? Can we?

- How do we tie in observations taken during non-photometric conditions? Observations taken in patchy cirrus will not be trivial to calibrate (since cloud structure could be smaller than the FOV.

# References

- Hambly, Harwaden, Adamson, Casali, Warren, Leggett, 2001, http://www.ukidss.org/technical/technical.html (section 6), Photometric calibration for WFCAM data.

- Casali, 2003, WFCAM Performance and Summary of Characteristics.

- Hawarden, Leggett, Letawski, Ballantyne, Casali, 2001, MNRAS, 325, 563, JHK standard stars for large telescopes 1. The UKIRT Fundamental and Extended Lists.

- Manfroid, Selman, Jones, 2001, ESO Messenger (June), p.16, Achieving 1% photometric accuracy with the ESO Wide Field Imager.

- Nikolaev et al., 2000, AJ, 120, 3340, A global photometric analysis of 2MASS calibration data.

- Persson, Murphy, Krzeminski, Roth, Reike, 1998, AJ, 116, 2475, A new system of faint near-infrared standard stars.

# Appendices

## Definition of the problem

At any time (t), on any night (n), for any star (i), in any waveband (b),

mcalib = minstibtn + ZPbtn - kbtn (X - 1),

where ZP is the Zero Point (i.e. the magnitude at airmass unity which gives 1 count/second at the detector), mcal is the calibrated magnitude, minst is the measured instrumental magnitude (-2.5 x log10[counts/sec]), k is the extinction coefficient and X is the airmass of the observation. This assumes that second order extinction term and colour dependency of k are both negligible.

Typically, the Zero Point of the instrument + telescope system should be stable throughout the night. Long term decreases in the sensitivity of the instrument, and hence a decreasing ZP, could be caused by e.g. the accumulation of dust on the primary mirror.

The 2MASS project found extinction varied seasonally. They allowed the ZP to vary through the night, but fixed the extinction. One could reasonably allow the extinction to vary through the night, given that the dominant contributors are H20 and CO. The ZP then becomes a measure of the system throughput and can be easily monitored with the pipeline summit using the 2MASS catalogue.

## The 2MASS standard fields

The updated 2MASS standards table contains 32 standard fields. These are

16 equatorial fields, uniformly distributed in RA, and 8 each of North and South polar fields, in the range Dec=+/-30 to 60, i.e. fine for UKIRT and VISTA.  More than 2000 standards are spread between these 32 fields, i.e. something like 100 stars per field. Field areas are around 1 degree x 8.5 minutes, i.e. width is 60% of a WFCAM field of view.

Standards typically have few hundred up to 1500 hundred scans, RMS errors at the bright end are at the few percent level.

The filter profiles between 2MASS and MKO are significantly different, e.g. the 2MASS J filter contains significant water vapour lines. Hambly et al. (2001) suggest that these differences lead to huge uncertainties in the *ABSOLUTE* calibration of the photometry. They propose re-observing 2MASS fields in MKO filters – or defining new glob cluster field. WFCAM can then be used to extrapolate fields to larger range of RA, DEC.

Overall these fields do not seem to be useful - they are smaller then the FOV of the instrument. In their favour they do have a small photometric legacy, although the error on any measurement of an individual star is large. Additionally the transforms from a low, wet site to a high, dry site will compromise photometric accuracy. We probably would do better selecting our own fields.

## Proposed Secondary Standard Fields

I've started with the Persson et al. (1998, AJ, 116, 2475) and UKIRT FS (Hawarden et al. 2001 Mon.Not.R.astr.Soc. 325, 563, Leggett et al. 2003 Mon.Not.R.astr.Soc. in press and http://www.jach.hawaii.edu/JACpublic/UKIRT/astronomy/) lists of primary standard stars. I am attempting to define secondary standard fields which have a primary standard at their centre to enable direct calibration (for one detector at least).  The Persson standards are actually a little bright so everything that follows is based on the UKIRT Faint Standards (which actually include a few of the Persson stars).

### Standard Field Selection

The UKIRT Faint Standards comprise 114 fields - which is rather more than we need. I want to refine this to more like 2-3 per hour in RA, of which the majority should be equatorial, with a scattering further to the north so that they pass almost overhead (UKIRT latitude is +19.82 degrees).

### Selection Criteria

Further selection criteria are:

• 	 Primary standard must notsaturate WFCAM in minimum exposure  (about 1 second)

• 	Would be nice if primary standard did not saturate WFCAM in  typical standard exposure (5 seconds)

• 	Want the field to be reasonably rich, at least >100 stars  per detector

• 	Want the primary (and secondary) standards to cover a wide range  of colour

• 	Don't want anything hideously bright to fall on the array

### WFCAM saturation

I have set very approximate and conservative saturation limits from CASU derived zero-points (see http://www.ast.cam.ac.uk/vdfs/reports/commissioning/) - objects brighter than these limits have been cut from the candidate standards list. These are listed below:

1 ADU/s    SAT(1s)   SAT(5s)

Y    22.8     10.55     12.35

J    23.1     10.85     12.65

H    23.4     11.15     12.95

K    22.6     10.35     12.15

Assumptions:  30,000 counts in 1 second, where 40% of counts fall within central 0.4 arcsecond radius circle, and all off this flux ends up on one pixel.

### Reduced List

After manually sorting the 114 UKIRT FS stars based on the above criteria, I'm left with a shortlist of 48 standards, spread over some 43 fields (I’ve manually added back in a few brighter ones for which we have estimated/sythetic YZ magnitudes – see table below). The figure below shows the distribution of these fields in an equatorial hammer-aitoff projection diagram (0 hours RA is at the centre of the plot). Dots are the UKIRT FS stars (+ = Persson). Red circles are the selected fields.

Figure 2 A Hammer-Aitoff projection in equatorial coordinates (0 degrees at the centre) illustrating the distribution of the selected secondary standard fields across the sky.

In addition, the following figure shows that the colour distribution of the selected standards is representative of the FS sample as a whole, and importantly I've kept the reddest and bluest stars (postscript version).

Figure 3 The colours of the WFCAM subsample compared to the complete UKIRT Faint Standard list

The rest of this page gives the list itself, plus for each field I've made a figure incorporating:

• 	 A DSS image to give a feel for the crowding of the region

• 	 A colour magnitude diagram from the 2MASS Point Source Catalogue

• 	 The 2MASS Point Source Catalogue source counts

which can be found at http://www.ast.cam.ac.uk/~sth/wfcam/wfcam_standards/.

## List of Standards

FS   Name         RA          DEC           J        H        K        Nchp  YZ

--------------------------------------------------------------------------------

1    G158-100     00 33 54.48 -12 07 58.1   13.414   13.063   12.968     84

103  p241-g       00 36 29.60 +37 42 54.3   12.328   11.833   11.722    270

3    F11          01 04 21.63 +04 13 36.0   12.653   12.739   12.833    104

5    F16          01 54 34.65 -06 46 00.4   12.369   12.336   12.342     75 est

6    F22          02 30 16.64 +05 15 51.1   13.265   13.311   13.383    119 est

10   GD50         03 48 50.20 -00 58 31.2   14.780   14.830   14.969    102 est

x    P247-U       03 32 03.00 +37 20 40.0   11.901   11.614   11.507    505

114  Hy214        04 19 41.72 +16 45 22.4   14.379   13.860   13.438    207

116  b216-b7      04 23 50.18 +26 40 07.7   12.777   11.517   10.922    224

11   SA96-83      04 52 58.92 -00 14 41.6   11.332   11.267   11.241    170 est

12   GD71         05 52 27.66 +15 53 14.3   13.720   13.818   13.910    966

x    S842-E       06 22 43.70 -00 36 30.0   11.650   11.324   11.224    800 syn

121  s772-g       06 59 46.82 -04 54 33.2   11.984   11.436   11.302   1136 syn

14   Rubin149     07 24 14.40 -00 33 04.1   14.124   14.145   14.206    689

x    RU149D       07 24 15.36 -00 32 47.9   11.435   11.445   11.469    689 syn

x    P309-U       07 30 34.50 +29 51 12.0   11.816   11.492   11.445    250 syn

x    P545-C       08 29 25.10 +05 56 08.0   11.823   11.588   11.549    219 syn

x    S705-D       08 36 12.50 -10 13 39.0   12.315   12.102   12.045    370 syn

15   M67-I-48     08 51 05.81 +11 43 46.9   12.723   12.415   12.353    408

16   M67-IV-8     08 51 15.01 +11 49 21.2   12.986   12.694   12.643    502

17   M67-IV-27    08 51 19.31 +11 52 10.4   12.656   12.345   12.270    508

123  p486-r       08 51 11.88 +11 45 21.5   10.141   10.157   10.206    456 est

124  lhs254       08 54 12.60 -08 05 03.0   11.482   11.072   10.728    245 syn

125  p259-c       09 03 20.60 +34 21 03.9   10.764   10.432   10.362    110 syn

19   G162-66      10 33 42.75 -11 41 38.3   13.645   13.698   13.784    130

20   G163-50      11 07 59.93 -05 09 26.1   13.424   13.453   13.506    121 est

129  lhs2397a     11 21 48.95 -13 13 07.9   11.815   11.182   10.645    112

21   GD140        11 37 05.15 +29 47 58.4   13.020   13.064   13.168     66 syn

132  s860-d       12 21 39.36 -00 07 13.3   12.157   11.875   11.835     81

33   GD153        12 57 02.30 +22 01 52.8   14.083   14.165   14.270     46

x    S791-C       13 17 29.60 -05 32 37.0   11.592   11.274   11.231    119

23   M3-193       13 41 43.57 +28 29 49.5   13.001   12.494   12.393    537

x    P272-D       14 58 33.10 +37 08 33.0   11.587   11.262   11.202     84

x    T868-110639  15 10 17.00 -02 41 05.0   12.537   11.868   11.306    156

138  p275-a       16 28 06.72 +34 58 48.3   10.380   10.377   10.391    144 est

27   M13-A14      16 40 41.56 +36 21 12.4   13.482   13.196   13.130    222

137  p565-c       16 26 42.72 +05 52 20.3   12.141   11.893   11.843    243

35   fs35         18 27 13.52 +04 03 09.4   12.167   11.830   11.729   2071

143  Ser-EC68     18 29 53.79 +01 13 29.9   16.534   14.271   12.908   1206

144  Ser-EC84     18 29 56.90 +01 12 47.1   15.016   12.563   11.017   1212

34   EG141        20 42 34.73 -20 04 34.8   12.888   12.927   13.013    262 est

x    P576-F       20 52 47.30 +06 40 05     12.207   11.928   11.867    406

151  p340-h       21 04 14.75 +30 30 21.2   12.205   11.938   11.870   1057

29   G93-48       21 52 25.36 +02 23 20.7   13.203   13.248   13.323    181 est

x    BRI2202      22 05 36.00 -11 04 27.0   11.588   11.088   10.700    128

30   SA114-750    22 41 44.72 +01 12 36.5   11.936   11.972   12.021    138 est

31   GD246        23 12 21.60 +10 47 04.1   13.828   13.935   14.050    115

32   F108         23 16 12.37 -01 50 34.6   13.563   13.649   13.730    118

NB: Sandy Leggett has combined synthetic spectra with the WFCAM filter profiles to produce expected YZ magnitudes for a selection of stars (labeled syn). She has also produced estimated YZ mags for a sample of stars with spectral types and VIJHK magnitudes (labeled est).

# Footnotes

http://www.ipac.caltech.edu/2mass/releases/second/doc/sec6_7a.html

# Text boxes

Figure 1. [top left] DSS image centred on RU149D spanning 15x15 arcmins and illustrating the span of one WFCAM chip. [top right] 2MASS stars brighter than H=10 in the field of RU149D. [bottom left] colour-magnitude diagram from 2MASS. [bottom right] star counts